## EHA_FY22_post2009_prjtype
EHA_PtID | PtName | County | State | Lat | Lon | Pt_Own | OwType | Dam_Own | Type | EIA_PtID | FC_Dock | FcIssue | FcExpire | Mode | Pm_Type | Number_of_Units | CH_MW | CH_MWh | CH_Pf | CH_OpYear | PS_MW | PS_MWh | PS_Pf | PS_OpYear | Water | HUC | NID_ID | ReEDSPCA | NERC | BACode | Sector | Trans | PrjType | PrjType_source
hc9160_p01 | McKenzie Reservoir Hydroelectric Facility | Deschutes | OR | 44.3128 | -121.4236 | Three Sisters Irrigation Distric | Political subdivision | NA | HY | NA | CD17-14 | NA | NA | Canal/Conduit | FERC Qualifying Conduit | 1 | 0.3 | 1300 | 49.4673 | 2020 | NA | NA | NA | NA | Whycus Creek | 1707030108 | NA | 17 | WECC | NA | NA | NA | C | PipelineIntegrationDB_2022.csv
hc9162_p01 | Dodd Hydroelectric Facility Project | Boulder | CO | 40.1082 | -105.1966 | Left Hand Water District | Political subdivision | NA | HY | NA | CD19-4 | NA | NA | Canal/Conduit | FERC Qualifying Conduit | 1 | 0.3 | 1125 | 42.8082 | 2020 | NA | NA | NA | NA | Big Thompson | 1019000503 | NA | 80 | WECC | NA | NA | NA | C | PipelineIntegrationDB_2022.csv
hc9159_p01 | Division Booster Pump Station Project | Skagit | WA | 48.4208 | -122.2971 | Skagit Public Utility District | Municipal | NA | HY | NA | CD21-3 | NA | NA | Canal/Conduit | FERC Qualifying Conduit | 1 | 0.025 | 94 | 42.9224 | 2021 | NA | NA | NA | NA | municipal | 1711000702 | NA | 2 | WECC | NA | NA | NA | C | PipelineIntegrationDB_2022.csv
hc9155_p01 | Pioneer Valley Hydro Site Project | Gunnison | CO | 38.2894 | -107.5905 | Pioneer Valley, LLC | Private non-utility | NA | HY | NA | CD17-13 | NA | NA | Canal/Conduit | FERC Qualifying Conduit | 2 | 0.006 | 45.9 | 87.3288 | 2020 | NA | NA | NA | NA | Un-named spring | 1402000209 | NA | 78 | WECC | NA | NA | NA | C | PipelineIntegrationDB_2022.csv
hc9151_p01 | Enery Recovery Phase 1 | Umatilla | OR | 45.6759 | -118.7671 | City Of Pendleton, or | Municipal | NA | HY | NA | P-14407 | NA | NA | Canal/Conduit | FERC Exemption | 4 | 0.4 | NA | NA | 2012 | NA | NA | NA | NA | Umatilla River | 1707010305 | NA | 16 | WECC | NA | NA | NA | C | manual_check
hc9154_p01 | B24 Hydroelectric Station Project | Los Angeles | CA | 34.0359 | -117.971 | San Gabriel Valley Water Company | Private non-utility | NA | HY | NA | CD17-17 | NA | NA | Canal/Conduit | FERC Qualifying Conduit | 1 | 0.15 | 1200 | 91.3242 | 2019 | NA | NA | NA | NA | Ground Water | 1807010604 | NA | 31 | WECC | NA | NA | NA | C | PipelineIntegrationDB_2022.csv
hc9153_p01 | Wallowa Lake County Service District Hydro Station Project | Wallowa | OR | 45.281 | -117.215 | Wallowa Resources Community Solutions Inc. | Private non-utility | NA | HY | NA | CD17-16 | NA | NA | Canal/Conduit | FERC Qualifying Conduit | 1 | 0.02 | NA | NA | 2020 | NA | NA | NA | NA | State Park Spring | 1706010501 | NA | 16 | WECC | NA | NA | NA | C | PipelineIntegrationDB_2022.csv
hc9149_p01 | Gordon Faber Hydroelectric Project | Washington | OR | 45.5542 | -122.9102 | City of Hillsboro, Oregon | Municipal | NA | HY | NA | CD18-12 | NA | NA | Canal/Conduit | FERC Qualifying Conduit | 1 | 0.1613 | 200.75 | 14.2075 | 2020 | NA | NA | NA | NA | Municipal | 1709001003 | NA | 11 | WECC | NA | NA | NA | C | PipelineIntegrationDB_2022.csv
hc9144_p01 | Deep Creek Hydroelectric Project | San Bernardino | CA | 34.3905 | -117.2381 | Mojave Water Agency | Political subdivision | NA | HY | NA | CD16-1 | NA | NA | Canal/Conduit | FERC Qualifying Conduit | 1 | 0.8 | 5424 | 77.3973 | 2019 | NA | NA | NA | NA | Conduit/Canal | 1809020807 | NA | 33 | WECC | NA | NA | NA | C | PipelineIntegrationDB_2022.csv
hc9141_p01 | C.C. Cragin Raw Water Supply Line | Gila | AZ | 34.2794 | -111.2973 | Town Of Payson, az | Municipal | NA | HY | NA | P-14776 | NA | NA | Canal/Conduit | FERC Exemption | 1 | 0.2 | 1256 | 71.6895 | 2019 | NA | NA | NA | NA | C.C. Cragin Reservoir | 1506010503 | NA | 59 | WECC | NA | NA | NA | C | PipelineIntegrationDB_2022.csv
hc9143_p01 | FMC 33B Micro-hydro Project | Delta | CO | 38.879 | -107.6163 | Joseph W. Yeamans | Private non-utility | NA | HY | NA | CD16-22 | NA | NA | Canal/Conduit | FERC Qualifying Conduit | 1 | 0.005 | 0.012 | 0.027397 | 2019 | NA | NA | NA | NA | Fire Mountain Canal | 1402000405 | NA | 77 | WECC | NA | NA | NA | C | PipelineIntegrationDB_2022.csv
hc9142_p01 | Roemer Water Filtration Facility Hydroelectric Project | San Bernardino | CA | 34.1548 | -117.3978 | West Valley Water District | Political subdivision | NA | HY | NA | CD15-32 | NA | NA | Canal/Conduit | FERC Qualifying Conduit | 2 | 0.484 | 2200 | 51.8888 | 2019 | NA | NA | NA | NA | Lytle Creek Turnout Pipe | 1807020303 | NA | 33 | WECC | NA | NA | NA | C | PipelineIntegrationDB_2022.csv
hc9140_p01 | Drop 8 Facility | Dona Ana | NM | 32.1266 | -106.7242 | Elephant Butte Irrigation District | Political subdivision | NA | HY | NA | CD16-17 | NA | NA | Canal/Conduit | FERC Qualifying Conduit | 2 | 0.04 | 40 | 11.4155 | 2016 | NA | NA | NA | NA | EBID Westside Irrigation Canal | 1303010209 | NA | 90 | WECC | NA | NA | NA | C | PipelineIntegrationDB_2022.csv
hc9131_p01 | Drop 5 | Montrose | CO | 38.4044 | -107.8102 | Drop 5 Hydro LLC | Political subdivision | NA | HY | 61191 | NA | NA | NA | Canal/Conduit | Reclamation Transferred | 1 | 2.4 | 9487 | 45.1246 | 2017 | NA | NA | NA | NA | NA | 140000000000 | NA | 77 | WECC | WACM | IPP Non-CHP | Delta Montrose Electric Assn | C | manual_check
hc9130_p01 | Shavano Falls Hydro Drop 4 | Montrose | CO | 38.4505 | -107.7767 | Shavano Falls Hydro LLC - Drop 4 Project | Private Non-utility | NA | HY | 61190 | NA | NA | NA | Canal/Conduit | Reclamation LOPP | 1 | 4.8 | 14166 | 33.6901 | 2015 | NA | NA | NA | NA | Montrose and Delta Canal | 140000000000 | NA | 34 | WECC | WACM | IPP Non-CHP | Delta Montrose Electric Assn | C | manual_check
hc9139_p01 | Campbellas Ferry Micro-Hydro Unit Project | Idaho | ID | 45.4867 | -115.3278 | Campbellas Ferry Ranch, LLC | Private non-utility | NA | HY | NA | CD20-4 | NA | NA | Canal/Conduit | FERC Qualifying Conduit | 1 | 0.0011 | 1.5 | 15.5666 | 2020 | NA | NA | NA | NA | Trout Creek | 1706020707 | NA | 42 | WECC | NA | NA | NA | C | PipelineIntegrationDB_2022.csv
hc9096_p01 | Ione Hydroelectric Station | Amador | CA | 38.3386 | -120.9073 | Amador Water Agency | Political subdivision | NA | HY | NA | CD16-19 | NA | NA | Canal/Conduit | FERC Qualifying Conduit | 1 | 0.4476 | 1400 | 35.7054 | 2017 | NA | NA | NA | NA | Conduit/Canal | 1804001207 | CA01244 | 24 | WECC | NA | NA | NA | C | PipelineIntegrationDB_2022.csv
hc9066_p01 | North Gooding Main Hydroelectric Project | Lincoln | ID | 43.0451 | -114.5588 | North Gooding Main Hydro LLC | Private Non-utility | NA | HY | 61688 | CD15-21 | NA | NA | Canal/Conduit | FERC Qualifying Conduit | 1 | 1.3 | 4620.5 | 40.5734 | 2016 | NA | NA | NA | NA | North Gooding Main Canal | 170000000000 | NA | 15 | WECC | IPCO | IPP Non-CHP | Idaho Power Co | C | PipelineIntegrationDB_2022.csv
hc9050_p01 | Waterman Turnout In-Conduit Hydroelectric Project | San Bernardino | CA | 34.1726 | -117.278 | San Bernardino Valley Municpal Water District | Political subdivision | NA | HY | 60466 | CD15-1 | NA | NA | Canal/Conduit | FERC Qualifying Conduit | 1 | 0.865 | 3575 | 47.1798 | 2018 | NA | NA | NA | NA | Foothill Feeder Pipeline | 1807020305 | NA | 33 | WECC | NA | NA | NA | C | manual_check
hc9039_p01 | Head of U Canal Hydro Project | Jerome | ID | 42.7628 | -114.3958 | North Side Canal Company | Private Non-utility | NA | HY | 61217 | CD14-10 | NA | NA | Canal/Conduit | FERC Qualifying Conduit | 1 | 1.2 | 4438.33 | 42.2216 | 2015 | NA | NA | NA | NA | U Canal | 170000000000 | NA | 15 | WECC | IPCO | IPP Non-CHP | Idaho Power Co | C | PipelineIntegrationDB_2022.csv
hc9035_p01 | Battle Creek Microhydro Power Generation Project | Utah | UT | 40.3622 | -111.7013 | Pleasant Grove City, Utah | Municipal | NA | HY | NA | CD14-4 | NA | NA | Canal/Conduit | FERC Qualifying Conduit | 1 | 0.12 | 327 | 31.1073 | 2015 | NA | NA | NA | NA | Conduit/Canal | 1602020108 | NA | 49 | WECC | NA | NA | NA | C | PipelineIntegrationDB_2022.csv
hc9032_p01 | U Canal Hydro 2 | Jerome | ID | 42.7686 | -114.4722 | North Side Canal Company | Private Non-utility | NA | HY | 61217 | CD14-1 | NA | NA | Canal/Conduit | FERC Qualifying Conduit | 1 | 1.2 | 4438.33 | 42.2216 | 2015 | NA | NA | NA | NA | U Canal | 170000000000 | NA | 15 | WECC | IPCO | IPP Non-CHP | Idaho Power Co | C | PipelineIntegrationDB_2022.csv
hc7544_p01 | Arlington Outlet Hydroelectric Generator | Terrant | TX | 32.6391 | -97.2429 | Tarrant Regional Water District | Publicly Owned Utility | NA | HY | 61355 | P-13946 | NA | NA | Canal/Conduit | FERC Exemption | 1 | 1.3 | 793.67 | 6.9694 | 2015 | NA | NA | NA | NA | ARLINGTON OUTLET DISCHARGE FAC | 120000000000 | NA | 63 | TRE | ERCO | Commercial Non-CHP | Oncor Electric Delivery Company LLC | C | manual_check
hc7527_p01 | Arrow Canyon Conduit Energy Recover | Clark | NV | 36.742 | -114.7426 | Southern Nevada Water Authority | Political subdivision | NA | HY | NA | P-13569 | 2010-08-19 | 2050-07-31 | Run-of-river | FERC License | 1 | 0.5 | 3500 | 79.9087 | 2011 | NA | NA | NA | NA | Coyote Spring Valley Well | 1501001205 | NA | 40 | WECC | NA | NA | NA | C | PipelineIntegrationDB_2022.csv
hc2165_p01 | Lower South Fork Irrigation Project | Carbon | MT | 45.2091 | -109.144 | Lower South Fork LLC | Private Non-utility | NA | HY | 58120 | P-13716 | NA | NA | Canal/Conduit | FERC Exemption | 1 | 0.47 | 608 | 14.7673 | 2012 | NA | NA | NA | NA | RCCC Ditch | 101000000000 | NA | 18 | WECC | NWMT | IPP Non-CHP | NorthWestern Energy | C | manual_check
hc9042_p01 | Station 29 | Montgomery | PA | 40.2055 | -75.2365 | North Wales Water Authority | Publicly Owned Utility | NA | HY | NA | CD14-13 | NA | NA | Canal/Conduit | FERC Qualifying Conduit | 1 | 0.011 | 72 | 74.7198 | 2014 | NA | NA | NA | NA | Conduit/Canal | 20402030901 | NA | 122 | RFC | NA | NA | NA | C | PipelineIntegrationDB_2022.csv
hc2162_p01 | Juniper Ridge Hydroelectric Project | Deschutes | OR | 44.1417 | -121.27 | Central Oregon Irrigation Dist | Publicly Owned Utility | NA | HY | 57437 | P-13607 | NA | NA | Canal/Conduit | FERC Exemption | 1 | 5 | 11697 | 26.7055 | 2010 | NA | NA | NA | NA | Deschutes River | 171000000000 | NA | 5 | WECC | PACW | IPP Non-CHP | PacifiCorp | C | manual_check
hc9025_p01 | Pandora Water System Project | San Miguel | CO | 37.9309 | -107.778 | Town of Telluride | Publicly Owned Utility | NA | HY | NA | CD14-5 | NA | NA | Canal/Conduit | FERC Qualifying Conduit | 1 | 0.32 | 2135 | 76.163 | 2014 | NA | NA | NA | NA | Conduit/Canal | 140000000000 | NA | 34 | WECC | NA | NA | NA | C | PipelineIntegrationDB_2022.csv
hc7553_p01 | Town of Basalt Hydroelectric Project | Eagle | CO | 39.3752 | -107.0276 | Town of Basalt, Colorado | Publicly Owned Utility | NA | HY | NA | P-14326 | NA | NA | Canal/Conduit | FERC Exemption | 1 | 0.04 | 300 | 85.6164 | 2012 | NA | NA | NA | NA | TOWN BASALT WATER TREATMENT FAC | 140000000000 | NA | 33 | WECC | NA | NA | NA | C | PipelineIntegrationDB_2022.csv
hc7569_p01 | Pendleton Well 14 | Umatilla | OR | 45.6704 | -118.852 | City of Pendleton | Publicly Owned Utility | NA | HY | NA | P-14407 | NA | NA | Canal/Conduit | FERC Exemption | 1 | 0.0283 | 122.2883 | 49.3281 | 2012 | NA | NA | NA | NA | UMATILLA RIVER | 171000000000 | NA | 5 | WECC | NA | NA | NA | C | manual_check
hc7568_p01 | Pendleton Well 5 | Umatilla | OR | 45.6757 | -118.7839 | City of Pendleton | Publicly Owned Utility | NA | HY | NA | P-14407 | NA | NA | Canal/Conduit | FERC Exemption | 2 | 0.0655 | 283.0347 | 49.3281 | 2012 | NA | NA | NA | NA | UMATILLA RIVER | 171000000000 | NA | 5 | WECC | NA | NA | NA | C | manual_check
hc7594_p01 | Antrim Micro | Tioga | PA | 41.6294 | -77.2871 | Antrim Treatment Trust | Publicly Owned Utility | Antrim Treatment Trust | HY | NA | P-14537 | 2014-09-03 | 2044-08-31 | Run-of-river | FERC License | 2 | 0.04 | 250 | 71.347 | 2012 | NA | NA | NA | NA | Susquehanna River | 20502050402 | NA | 122 | RFC | NA | NA | NA | C | PipelineIntegrationDB_2022.csv
hc7567_p01 | Pendleton Well 1 | Umatilla | OR | 45.6762 | -118.7671 | City of Pendleton | Publicly Owned Utility | NA | HY | NA | P-14407 | NA | NA | Canal/Conduit | FERC Exemption | 1 | 0.0675 | 291.677 | 49.3281 | 2012 | NA | NA | NA | NA | UMATILLA RIVER | 171000000000 | NA | 5 | WECC | NA | NA | NA | C | manual_check
hc7573_p01 | Monroe Cold Spring | Sevier | UT | 38.6057 | -112.0956 | Monroe City | Publicly Owned Utility | NA | HY | NA | P-14441 | NA | NA | Canal/Conduit | FERC Exemption | 1 | 0.037 | 229 | 70.6528 | 2013 | NA | NA | NA | NA | WATER SUPPLY PIPELINE | 160000000000 | NA | 25 | WECC | NA | NA | NA | C | PipelineIntegrationDB_2022.csv
hc9040_p01 | Box Elder | Box Elder | UT | 41.5013 | -111.9912 | Brigham City Corporation | Publicly Owned Utility | NA | HY | NA | CD14-11 | NA | NA | Canal/Conduit | FERC Qualifying Conduit | 1 | 0.8 | 4300 | 61.3584 | 2014 | NA | NA | NA | NA | Conduit/Canal | 160000000000 | NA | 25 | WECC | NA | NA | NA | C | PipelineIntegrationDB_2022.csv
hc7551_p01 | Eightmile Hydroelectric Project | Lemhi | ID | 44.6673 | -113.4797 | Jordan Whittaker | Private Non-utility | NA | HY | NA | P-14259 | NA | NA | Canal/Conduit | FERC Exemption | 1 | 0.46 | 1120 | 27.7943 | 2014 | NA | NA | NA | NA | BIG EIGHTMILE CREEK | 171000000000 | NA | 15 | WECC | NA | NA | NA | C | PipelineIntegrationDB_2022.csv
hc7584_p01 | Sackett Filtration | Hampden | MA | 42.0929 | -72.8032 | Westfield Water Resources Department | Publicly Owned Utility | NA | HY | NA | P-14483 | NA | NA | Canal/Conduit | FERC Exemption | 1 | 0.08 | 470 | 67.0662 | 2014 | NA | NA | NA | NA | SACKETT FILTRATION PLANT | 10802060303 | NA | 131 | NPCC | NA | NA | NA | C | PipelineIntegrationDB_2022.csv
hc9024_p01 | Mayflower Mill Project | San Juan | CO | 37.8283 | -107.6281 | San Juan County Historical Society | Publicly Owned Utility | NA | HY | NA | CD13-4 | NA | NA | Canal/Conduit | FERC Qualifying Conduit | 1 | 0.011 | 80 | 83.022 | 2015 | NA | NA | NA | NA | Conduit/Canal | 141000000000 | NA | 34 | WECC | NA | NA | NA | C | manual_check
hc9030_p01 | Gibraltar Conduit Hydroelectric Project | Santa Barbara | CA | 34.4581 | -119.7247 | City of Santa Barbara | Publicly Owned Utility | NA | HY | NA | CD13-7 | NA | NA | Canal/Conduit | FERC Qualifying Conduit | 1 | 0.82 | 1874 | 26.0887 | 2015 | NA | NA | NA | NA | Conduit/Canal | 181000000000 | NA | 9 | WECC | NA | NA | NA | C | PipelineIntegrationDB_2022.csv
hc9051_p01 | Glendale Conduit Hydro Project | Franklin | ID | 42.1326 | -111.7752 | Consolidated Irrigation Company | Private Non-utility | NA | HY | NA | CD15-2 | NA | NA | Canal/Conduit | FERC Qualifying Conduit | 1 | 0.45 | 2631 | 66.7428 | 2015 | NA | NA | NA | NA | Conduit/Canal | 160000000000 | NA | 16 | WECC | NA | NA | NA | C | PipelineIntegrationDB_2022.csv
hc9135_p01 | Rolfe Hydro Project | Gunnison | CO | 38.2942 | -107.5697 | Roger Rolfe | Private non-utility | NA | HY | NA | CD16-2 | NA | NA | Canal/Conduit | FERC Qualifying Conduit | 1 | 0.002 | 11.4 | 65.0685 | 2015 | NA | NA | NA | NA | Cowboy Ditch | 140000000000 | NA | 78 | WECC | NA | NA | NA | C | PipelineIntegrationDB_2022.csv
hc7554_p01 | Three Sisters Irrigation District Hydroelectric Project | Deschutes | OR | 44.2646 | -121.4934 | Three Sisters Irrigation District | Publicly Owned Utility | NA | HY | NA | P-14364 | NA | NA | Canal/Conduit | FERC Exemption | 1 | 0.7 | 3400 | 55.4468 | 2015 | NA | NA | NA | NA | THREE SISTERS IRRIGATION MAIN CANAL | 171000000000 | NA | 5 | WECC | NA | NA | NA | C | PipelineIntegrationDB_2022.csv
hc7563_p01 | Will Crandall | Washington | OR | 45.5513 | -122.9913 | City of Hillsboro, Oregon | Publicly Owned Utility | NA | HY | NA | P-14371 | NA | NA | Canal/Conduit | FERC Exemption | 1 | 0.094 | 60 | 7.2865 | 2015 | NA | NA | NA | NA | WILL CRANDALL RESERVOIR | 171000000000 | NA | 5 | WECC | NA | NA | NA | C | PipelineIntegrationDB_2022.csv
hc7580_p01 | Sandhill Water Treatment Plant | San Bernardino | CA | 34.1528 | -117.3996 | San Gabriel Valley Water Company | Investor-Owned Utility | NA | HY | NA | P-14428 | NA | NA | Canal/Conduit | FERC Exemption | 2 | 0.31 | 1160 | 42.7162 | 2015 | NA | NA | NA | NA | SANDHILL WATER TREATMENT PLANT | 181000000000 | NA | 10 | WECC | NA | NA | NA | C | manual_check
hc0175_p01 | Monroe Hydro | Jefferson | OR | 44.4622 | -121.2467 | Monroe Hydro, LLC | Private Non-utility | NA | HY | NA | P-14430 | NA | NA | Canal/Conduit | FERC Exemption | 1 | 0.3 | 1004 | 38.204 | 2015 | NA | NA | NA | NA | North Unit Irrigation District Main Canal | 171000000000 | NA | 5 | WECC | NA | NA | NA | C | PipelineIntegrationDB_2022.csv
hc7574_p01 | Lincoln Metering Station | Placer | CA | 38.8476 | -121.2319 | Placer County Water Agency | Publicly Owned Utility | NA | HY | NA | P-14444 | NA | NA | Canal/Conduit | FERC Exemption | 2 | 0.38 | 1770 | 53.1723 | 2015 | NA | NA | NA | NA | LINCOLN METERING STATION | 180000000000 | NA | 9 | WECC | NA | NA | NA | C | PipelineIntegrationDB_2022.csv
hc7583_p01 | Tank 4 In-Conduit | Kings | CA | 36.0155 | -120.1287 | City of Avenal, California | Publicly Owned Utility | NA | HY | NA | P-14463 | NA | NA | Canal/Conduit | FERC Exemption | 1 | 0.11 | 424 | 44.0017 | 2015 | NA | NA | NA | NA | Water Treatment Plant | 180000000000 | NA | 9 | WECC | NA | NA | NA | C | PipelineIntegrationDB_2022.csv
hc7585_p01 | Conduit 3 | Multnomah | OR | 45.4987 | -122.5123 | City of Portland Water Bureau | Publicly Owned Utility | NA | HY | NA | P-14498 | NA | NA | Canal/Conduit | FERC Exemption | 4 | 0.2 | 1200 | 68.4932 | 2015 | NA | NA | NA | NA | CONDUIT 3 PIPELINE | 171000000000 | NA | 5 | WECC | NA | NA | NA | C | PipelineIntegrationDB_2022.csv
hc7589_p01 | Carlsbad | San Diego | CA | 33.1528 | -117.2615 | Carlsbad Municipal Water District | Publicly Owned Utility | NA | HY | NA | P-14501 | NA | NA | Canal/Conduit | FERC Exemption | 1 | 0.135 | 833 | 70.438 | 2015 | NA | NA | NA | NA | MUNICIPAL WATER SYSTEM | 181000000000 | NA | 11 | WECC | NA | NA | NA | C | PipelineIntegrationDB_2022.csv
hc9048_p01 | Tanner In-Conduit Hydroelectric Project | Amador | CA | 38.3824 | -120.7888 | Amador Water Agency | Private Non-utility | NA | HY | NA | CD14-23 | NA | NA | Canal/Conduit | FERC Qualifying Conduit | 2 | 0.16 | 564 | 40.2397 | 2016 | NA | NA | NA | NA | Conduit/Canal | 180000000000 | NA | 9 | WECC | NA | NA | NA | C | PipelineIntegrationDB_2022.csv
hc9074_p01 | SPS2 Hydro Project | Wallowa | OR | 45.5228 | -117.4956 | SPS of Oregon | Private Non-utility | NA | HY | NA | CD15-28 | NA | NA | Canal/Conduit | FERC Qualifying Conduit | 1 | 0.013 | 81.9 | 71.9178 | 2016 | NA | NA | NA | NA | Westside Ditch | 171000000000 | NA | 16 | WECC | NA | NA | NA | C | PipelineIntegrationDB_2022.csv
hc9088_p01 | SCMWD Treatment Plant Project | Pueblo | CO | 38.2206 | -104.5142 | St. Charles Mesa Water District | Publicly Owned Utility | NA | HY | NA | CD16-11 | NA | NA | Canal/Conduit | FERC Qualifying Conduit | 3 | 0.04 | 40 | 11.4155 | 2016 | NA | NA | NA | NA | Conduit/Canal | 110000000000 | NA | 34 | WECC | NA | NA | NA | C | PipelineIntegrationDB_2022.csv
hc7572_p01 | Pendleton Well 8 | Umatilla | OR | 45.6699 | -118.8179 | City of Pendleton | Publicly Owned Utility | NA | HY | NA | P-14440 | NA | NA | Canal/Conduit | FERC Exemption | 1 | 0.0601 | 254.6951 | 48.3774 | 2016 | NA | NA | NA | NA | UMATILLA | 171000000000 | NA | 5 | WECC | NA | NA | NA | C | PipelineIntegrationDB_2022.csv
hc7571_p01 | Pendleton Well 4 | Umatilla | OR | 45.6722 | -118.8134 | City of Pendleton | Publicly Owned Utility | NA | HY | NA | P-14440 | NA | NA | Canal/Conduit | FERC Exemption | 1 | 0.0601 | 254.6951 | 48.3774 | 2016 | NA | NA | NA | NA | UMATILLA | 171000000000 | NA | 5 | WECC | NA | NA | NA | C | PipelineIntegrationDB_2022.csv
hc7570_p01 | Pendleton Well 2 | Umatilla | OR | 45.6703 | -118.7974 | City of Pendleton | Publicly Owned Utility | NA | HY | NA | P-14440 | NA | NA | Canal/Conduit | FERC Exemption | 1 | 0.1186 | 502.6097 | 48.3774 | 2016 | NA | NA | NA | NA | UMATILLA | 171000000000 | NA | 5 | WECC | NA | NA | NA | C | PipelineIntegrationDB_2022.csv
hc9076_p01 | Perdue Water Treatment Plant Hydroelectric Project | San Diego | CA | 32.6936 | -117.0097 | Sweetwater Authority | Publicly Owned Utility | NA | HY | NA | CD15-30 | NA | NA | Canal/Conduit | FERC Qualifying Conduit | 2 | 0.7 | 3784 | 61.7091 | 2017 | NA | NA | NA | NA | Conduit/Canal | 181000000000 | NA | 11 | WECC | NA | NA | NA | C | PipelineIntegrationDB_2022.csv
hc9091_p01 | Libby PRV Station Hydroelectric Project | Lincoln | MT | 48.3782 | -115.5576 | City of Libby, Montana | Municipal | NA | HY | NA | CD16-14 | NA | NA | Canal/Conduit | FERC Qualifying Conduit | 1 | 0.018 | 145 | 91.9584 | 2017 | NA | NA | NA | NA | CITY OF LIBBY WATER TREATMENT PLANT | 170000000000 | NA | 60 | WECC | NA | NA | NA | C | PipelineIntegrationDB_2022.csv
hc9083_p01 | Powell Mesa Micro-Hydropower Project | Delta | CO | 38.823 | -107.7129 | Susan Raymond | Private Non-utility | NA | HY | NA | CD16-3 | NA | NA | Canal/Conduit | FERC Qualifying Conduit | 2 | 0.0076 | 18 | 27.0368 | 2017 | NA | NA | NA | NA | Fire Mountain Canal | 140000000000 | NA | 77 | WECC | NA | NA | NA | C | PipelineIntegrationDB_2022.csv
hc9086_p01 | Park Farm Hydro Project | Weld | CO | 40.3375 | -104.4348 | James W. Park | Private Non-utility | NA | HY | NA | CD16-7 | NA | NA | Canal/Conduit | FERC Qualifying Conduit | 10 | 0.015 | 43 | 32.7245 | 2017 | NA | NA | NA | NA | Lower Latham Ditch | 102000000000 | NA | 85 | WECC | NA | NA | NA | C | PipelineIntegrationDB_2022.csv
hc9087_p01 | Miller Creek Ditch Hydropower Project | Rio Blanco | CO | 39.9769 | -107.9278 | White River Electric Association | Cooperative | NA | HY | NA | CD16-8 | NA | NA | Canal/Conduit | FERC Qualifying Conduit | 1 | 0.18 | 504 | 31.9635 | 2017 | NA | NA | NA | NA | Miller Creek Ditch1 | 141000000000 | NA | 76 | WECC | NA | NA | NA | C | PipelineIntegrationDB_2022.csv
hc9108_p01 | Yoder Farm Water Supply System Project | Rutland | VT | 43.3302 | -73.0501 | Ryan Yoder | Private Non-utility | NA | HY | NA | CD17-9 | NA | NA | Canal/Conduit | FERC Qualifying Conduit | 2 | 0.0016 | 13 | 92.7511 | 2017 | NA | NA | NA | NA | Spring | 41504020101 | NA | 352 | NPCC | NA | NA | NA | C | PipelineIntegrationDB_2022.csv
hc9027_p01 | Little Sand Creek Project | Bonner | ID | 48.3218 | -116.5721 | City of Sandpoint | Municipal | NA | HY | NA | CD13-1 | NA | NA | Canal/Conduit | FERC Qualifying Conduit | 1 | 0.065 | 475.8 | 83.5616 | 2018 | NA | NA | NA | NA | Wastewater treatment system | 170000000000 | NA | 14 | WECC | NA | NA | NA | C | manual_check
hc9063_p01 | Soldier Canyon Micro Hydro Facility | Larimer | CO | 40.5929 | -105.1602 | Soldier Canyon Filter Plant | Political subdivision | NA | HY | NA | CD15-18 | NA | NA | Canal/Conduit | FERC Qualifying Conduit | 1 | 0.1 | NA | NA | 2018 | NA | NA | NA | NA | Soldier Canyon Pipeline | 102000000000 | NA | 79 | WECC | NA | NA | NA | C | PipelineIntegrationDB_2022.csv
hc9067_p01 | Plant 134 Hydroelectric Project | San Bernardino | CA | 34.1386 | -117.1885 | East Valley Water District | Political subdivision | NA | HY | NA | CD15-22 | NA | NA | Canal/Conduit | FERC Qualifying Conduit | 2 | 0.242 | 1035 | 48.8226 | 2018 | NA | NA | NA | NA | Foothill Pipeline from the Devil Canyon Afterbay | 181000000000 | NA | 33 | WECC | NA | NA | NA | C | PipelineIntegrationDB_2022.csv
hc9106_p01 | Silver Creek Hydro Energy Recovery Facility | Summit | UT | 40.7334 | -111.483 | Mountain Regional Water Special Service District | Political subdivision | NA | HY | NA | CD17-7 | NA | NA | Canal/Conduit | FERC Qualifying Conduit | 2 | 0.2 | 1000 | 57.0776 | 2018 | NA | NA | NA | NA | Signal Hill Water Treatment Plant | 160000000000 | NA | 50 | WECC | NA | NA | NA | C | PipelineIntegrationDB_2022.csv
hc9136_p01 | Fulton Hydropower Project | Custer | ID | 44.1407 | -113.8837 | Gordon Fulton | Private non-utility | NA | HY | NA | CD15-17 | NA | NA | Canal/Conduit | FERC Qualifying Conduit | 1 | 0.406 | 1330 | 37.3957 | 2019 | NA | NA | NA | NA | Rock Creek | 170000000000 | NA | 43 | WECC | NA | NA | NA | C | PipelineIntegrationDB_2022.csv
hc9090_p01 | Watson Net Meter/Micro Hydroelectric Demonstration Facility | Deschutes | OR | 44.2643 | -121.4934 | Three Sisters Irrigation Distric | Political subdivision | NA | HY | NA | CD16-13 | NA | NA | Canal/Conduit | FERC Qualifying Conduit | 4 | 0.199 | 583.308 | 33.4611 | 2019 | NA | NA | NA | NA | Whychus Creek | 171000000000 | OR00413 | 17 | WECC | NA | NA | NA | C | PipelineIntegrationDB_2022.csv
hc7565_p01 | Grandsen | Ventura | CA | 34.2752 | -118.8734 | Calleguas Municipal Water District | Publicly Owned Utility | NA | HY | NA | P-14404 | NA | NA | Canal/Conduit | FERC Exemption | 2 | 0.36 | 2620 | 83.0797 | 2019 | NA | NA | NA | NA | LAKE BARD | 181000000000 | NA | 10 | WECC | NA | NA | NA | C | PipelineIntegrationDB_2022.csv
hc7564_p01 | Dividers Hydroelectric Project | Mesa | CO | 39.0944 | -108.559 | Grand Valley Irrigation Company | Publicly Owned Utility | NA | HY | NA | P-14377 | NA | NA | Canal/Conduit | FERC Exemption | 1 | 0.185 | 770 | 47.5133 | 2021 | NA | NA | NA | NA | GRAND VALLEY IRRIGATION CANAL | 140000000000 | NA | 33 | WECC | NA | NA | NA | C | PipelineIntegrationDB_2022.csv
hc1638_p02 | Farmers ID No. 2 | Hood River | OR | 45.6671 | -121.5244 | Farmer's Irrigation District | Publicly Owned Utility | Farmer's Irrigation District | HY | 10323 | P-7532 | NA | NA | Run-of-river | FERC Exemption | 1 | 2.6 | 14327.94 | 62.9081 | 2015 | NA | NA | NA | NA | Farmers Ditch From Hood River | 171000000000 | NA | 5 | WECC | PACW | IPP Non-CHP | PacifiCorp | C | manual_check
hc0198_p01 | Shavano Falls Hydro | Montrose | CO | 38.492 | -108.0023 | Uncompahgre Valley Water Users | Publicly Owned Utility | NA | HY | 61189 | NA | NA | NA | Canal/Conduit | Reclamation LOPP | 1 | 2.8 | 7724.67 | 31.4933 | 2015 | NA | NA | NA | NA | Montrose and Delta Canal | 140000000000 | NA | 34 | WECC | WACM | IPP Non-CHP | Delta Montrose Electric Assn | C | manual_check
hc0186_p01 | 45-Mile Hydroelectric Project | Jefferson | OR | 44.529 | -121.1532 | EBD Hydro LLC | Private Non-utility | NA | HY | 58455 | P-13817 | NA | NA | Canal/Conduit | FERC Exemption | 3 | 3 | 6036.75 | 22.9709 | 2015 | NA | NA | NA | NA | North Unit Main Canal | 171000000000 | NA | 5 | WECC | PACW | IPP Non-CHP | PacifiCorp | C | manual_check
hc0184_p01 | Fargo No. 1 | Canyon | ID | 43.6265 | -116.8958 | Boise Project Board of Control | Publicly Owned Utility | NA | HY | 58384 | P-5042 | NA | NA | Canal/Conduit | FERC Exemption | 1 | 1.1 | 3776.33 | 39.1898 | 2013 | NA | NA | NA | NA | Lake Lowell | 171000000000 | NA | 15 | WECC | IPCO | IPP Non-CHP | Idaho Power Co | C | manual_check
hc0179_p01 | Carter Hydro | Larimer | CO | 40.3242 | -105.2089 | Northern Colorado Water Conservancy District | Publicly Owned Utility | U S Bureau of Reclamation | HY | 58622 | NA | NA | NA | NA | Reclamation LOPP | 2 | 2.6 | 7711.83 | 33.8595 | 2012 | NA | NA | NA | NA | Carter Lakes Res | 102000000000 | CO01650 | 33 | WECC | WACM | Commercial Non-CHP | Poudre Valley R E A, Inc | C | manual_check
hc0178_p01 | South Canal Hydro-3 | Montrose | CO | 38.4703 | -107.7714 | Delta-Montrose Electric Association | Publicly Owned Utility | U S Bureau of Reclamation | HY | 58784 | NA | NA | NA | NA | Reclamation LOPP | 1 | 3.5 | 11079 | 36.135 | 2013 | NA | NA | NA | NA | Gunnison River | 140000000000 | NA | 34 | WECC | WACM | IPP Non-CHP | Delta Montrose Electric Assn | C | manual_check
hc0177_p01 | South Canal Hydro-1 | Montrose | CO | 38.4833 | -107.755 | Delta-Montrose Electric Association | Publicly Owned Utility | U S Bureau of Reclamation | HY | 58783 | NA | NA | NA | NA | Reclamation LOPP | 1 | 4 | 15584.5 | 44.4763 | 2013 | NA | NA | NA | NA | Gunnison River | 140000000000 | NA | 34 | WECC | WACM | IPP Non-CHP | Delta Montrose Electric Assn | C | manual_check
hc0173_p01 | C Drop | Klamath | OR | 42.1659 | -121.6851 | Klamath Irrigation District | Publicly Owned Utility | NA | HY | 58470 | NA | NA | NA | Canal/Conduit | Reclamation LOPP | 1 | 1.1 | 1909.67 | 19.8181 | 2012 | NA | NA | NA | NA | Irrigation Water | 180000000000 | NA | 6 | WECC | PACW | IPP Non-CHP | PacifiCorp | C | manual_check
hc0166_p01 | Upper Turnbull Drop Project | Teton | MT | 47.6051 | -112.0973 | Turnbull Hydro, LLC | Private Non-utility | U S Bureau of Reclamation | HY | 57690 | P-12598 | 2006-07-28 | 2056-06-30 | Run-of-river | FERC License | 1 | 5.3 | 11243.8277 | 24.2178 | 2011 | NA | NA | NA | NA | Spring Valley Canal | 100000000000 | NA | 18 | WECC | NWMT | IPP Non-CHP | NorthWestern Energy LLC - (MT) | C | manual_check
hc0165_p01 | Lower Turnbull Drop Project | Teton | MT | 47.5984 | -112.0677 | Turnbull Hydro, LLC | Private Non-utility | U S Bureau of Reclamation | HY | 57690 | P-12597 | 2006-07-28 | 2056-06-30 | Run-of-river | FERC License | 1 | 7.7 | 16335.3723 | 24.2178 | 2011 | NA | NA | NA | NA | Spring Valley Canal | 100000000000 | NA | 18 | WECC | NWMT | IPP Non-CHP | NorthWestern Energy LLC - (MT) | C | manual_check
hc9137_p01 | Timothy Lake Powerhouse | Clackamas | OR | 45.3705 | -121.7565 | Portland General Electric Co | Investor-Owned Utility | Portland General Electric Co | HY | 60868 | P-2195 | 2010-12-21 | 2046-02-28 | Run-of-river | FERC License | 1 | 1.2 | 0 | 0 | 2018 | NA | NA | NA | NA | Oak Grove River | 171000000000 | NA | 12 | WECC | PGE | Electric Utility | Portland General Electric Co | CU | manual_check
hc9129_p01 | Twin Falls (WI) | Florence | WI | 45.8728 | -88.0708 | Wisconsin Electric Power Co | Investor-Owned Utility | NA | HY | 59836 | NA | NA | NA | NA | Unknown | 2 | 9.2 | 42746.33 | 53.0404 | 2016 | NA | NA | NA | NA | NA | 40301080702 | MI00143 | 192 | RFC | MISO | Electric Utility | American Transmission Co | CU | manual_check
hc7503_p01 | Cedar Lake Dam Hydroelectric | Chickasaw | IA | 42.9553 | -92.5357 | City of Nashua, Iowa | Publicly Owned Utility | City of Nashua, Iowa | HY | NA | P-12628 | 2010-10-27 | 2040-09-30 | Run-of-river | FERC License | 4 | 0.8 | 3285 | 46.875 | 2012 | NA | NA | NA | NA | CEDAR RIVER | 70802011005 | IA01314 | 69 | MRO | NA | NA | NA | CU | PipelineIntegrationDB_2022.csv
hc7578_p01 | Vermont Tissue Mill | Bennington | VT | 42.9131 | -73.2335 | Carbon Zero, LLC | Private Non-utility | Carbon Zero, LLC | HY | NA | P-14308 | 2013-04-25 | 2043-03-31 | Run-of-river | FERC License | 2 | 0.36 | 1447.5 | 45.8999 | 2015 | NA | NA | NA | NA | WALLOOMSAC RIVER | 20200030704 | NA | 129 | NPCC | NA | NA | NA | CU | PipelineIntegrationDB_2022.csv
hc7579_p01 | Freedom Falls | Waldo | ME | 44.5278 | -69.2976 | Freedom Falls, LLC | Private Non-utility | Freedom Falls, LLC | HY | NA | P-14421 | NA | NA | Run-of-river | FERC Exemption | 1 | 0.05 | 66 | 15.0685 | 2016 | NA | NA | NA | NA | SANDY STREAM | 10300032004 | ME00355 | 134 | NPCC | NA | NA | NA | CU | PipelineIntegrationDB_2022.csv
hc1669_p02 | Stillwater B | Penobscot | ME | 44.9127 | -68.6838 | Black Bear Hydro Partners LLC | Private Non-utility | Black Bear Hydro Partners LLC | HY | 59437 | P-2712 | 1998-04-20 | 2048-03-31 | NA | FERC License | 3 | 2.4 | 12268.8 | 58.3562 | 2013 | NA | NA | NA | NA | Penobscot River | 10200050510 | ME00139 | 134 | NPCC | ISNE | IPP Non-CHP | Emera Maine | CU | manual_check
hc1667_p02 | Orono B | Penobscot | ME | 44.8844 | -68.6639 | Black Bear Hydro Partners LLC | Private Non-utility | Black Bear Hydro Partners LLC | HY | 59438 | P-2710 | 2005-12-08 | 2048-03-31 | NA | FERC License | 3 | 3.9 | 25422.4 | 74.4128 | 2013 | NA | NA | NA | NA | Penobscot River | 10200050510 | ME00138 | 134 | NPCC | ISNE | IPP Non-CHP | Emera Maine | CU | manual_check
hc1320_p01 | Blue Lake | Sitka Division | AK | 57.0633 | -135.1917 | Sitka City & Borough of | Publicly Owned Utility | Sitka City & Borough of | HY | 93 | P-2230 | 2007-07-10 | 2038-03-31 | Peaking | FERC License | 3 | 15.9 | 49764.62 | 35.7289 | 2014 | NA | NA | NA | NA | Sawmill Creek | NA | AK00002 | 1900 | ASCC | NA | Electric Utility | City & Borough of Sitka - (AK) | CU | manual_check
hc1289_p01 | Rainbow | Cascade | MT | 47.5346 | -111.2041 | Northwestern Coporation | Wholesale Power Marketer | Northwestern Coporation | HY | 2193 | P-2188 | 2000-09-27 | 2040-08-31 | Run-of-river/Upstream Peaking | FERC License | 1 | 59 | 275929.71 | 53.3878 | 2013 | NA | NA | NA | NA | Missouri River | 100000000000 | MT00557 | 18 | WECC | NWMT | Electric Utility | NorthWestern Energy LLC - (MT) | CU | manual_check
hc7581_p01 | Crescent Street | Worcester | MA | 42.5948 | -72.2265 | L.S. Starrett Company | Industrial | L.S. Starrett Company | HY | NA | P-14447 | NA | NA | Run-of-river | FERC Exemption | 2 | 0.448 | 1729.2 | 44.0619 | 2014 | NA | NA | NA | NA | MILLERS RIVER | 10802020204 | MA00934 | 131 | NPCC | NA | NA | NA | existing, unlicensed | PipelineIntegrationDB_2022.csv
hc9150_p01 | Mechanicville Hydroelectric Station | Saratoga | NY | 42.8765 | -73.6802 | Mechanicville Hydroelectric Station | Private non-utility | NA | HY | 62322 | NA | NA | NA | NA | Unknown | 2 | 4 | 20953 | 59.7974 | 2011 | NA | NA | NA | NA | Hudson River | 202000311 | NY00988 | 340 | NPCC | NYIS | IPP Non-CHP | Niagara Mohawk Power Corp. | NA | manual_check
hc9163_p01 | Matilda Hamilton Fee Hydroelectric Station | Estill | KY | 37.6773 | -83.9482 | Lock 12 Hydro Partners, LLC. | Private non-utility | Kentucky River Authority | HY | NA | P-13214 | 2015-12-21 | 2055-11-30 | Run-of-river | FERC License | 4 | 2.64 | 10673 | 46.1507 | 2021 | NA | NA | NA | NA | Kentucky River | 510020405 | NA | 240 | SERC | NA | NA | NA | NPD | PipelineIntegrationDB_2022.csv
hc9161_p01 | Upper Collinsville | Hartford | CT | 41.8105 | -72.9256 | Canton Hydro LLC | Municipal | NA | HY | NA | P-10822 | 2018-10-10 | 2068-09-30 | Run-of-river | FERC License | 1 | 1 | NA | NA | 2021 | NA | NA | NA | NA | Farmington River | 108020704 | NA | 343 | NPCC | NA | NA | NA | NPD | PipelineIntegrationDB_2022.csv
hc9147_p01 | Crocker | Worcester | MA | 42.5691 | -71.8811 | Whitman River Dam, Inc. | Private non-utility | Whitman River Dam, Inc. | HY | 58977 | P-13237 | 2012-09-05 | 2052-08-31 | Run-of-river | FERC License | 2 | 4.8 | 8801.75 | 20.9326 | 2015 | NA | NA | NA | NA | WHITMAN RIVER | 107000401 | MA00638 | 347 | NPCC | NA | Electric Utility | Ketchikan Public Utilities | NPD | PipelineIntegrationDB_2022.csv
hc9146_p01 | Red Rock | Marion | IA | 41.3695 | -92.9803 | Western Minnesota Mun Pwr Agny | Political subdivision | CEMVR | HY | 58434 | P-12576 | 2011-04-18 | 2061-03-31 | Peaking | FERC License | 2 | 36.39 | 158000 | 49.5645 | 2021 | NA | NA | NA | NA | Des Moines River | 710000905 | IA00013 | 179 | MRO | NA | NA | NA | NPD | PipelineIntegrationDB_2022.csv
hc9145_p01 | Lake Livingston | Polk | TX | 30.6326 | -95.0121 | East Texas Electric Coop, Inc. | Cooperative | Trinity River Authority | HY | 58645 | P-12632 | 2011-08-26 | 2061-07-31 | Intermediate Peaking | FERC License | 3 | 26.7 | 20486 | 8.7587 | 2020 | NA | NA | NA | NA | Lake Livingston | 1203020211 | TX03823 | 256 | SERC | MISO | Electric Utility | Entergy Texas Inc. | NPD | PipelineIntegrationDB_2022.csv
hc9134_p01 | Pueblo Dam | Pueblo | CO | 38.2839 | -104.73 | Southeastern Colorado Water Conservancy District, Colorado Springs Utilities, and Board of Water Works of Pueblo, Colorad | Political subdivision | Reclamation | HY | 64123 | NA | NA | NA | NA | Reclamation LOPP | 2 | 7.5 | 27317 | 41.5784 | 2019 | NA | NA | NA | NA | Municipality | 110000000000 | CO00299 | 84 | WECC | PACE | IPP Non-CHP | Black Hills Colorado Electric, LLC | NPD | manual_check
hc4118_p01 | Kalaheo Hydro | Kauai | HI | 21.9361 | -159.5286 | McBryde Sugar Co Ltd | Private Non-utility | McBryde Sugar Co Ltd | HY | 10412 | NA | NA | NA | NA | Unknown | 1 | 2 | 4393.52 | 25.0772 | 2016 | NA | NA | NA | NA | Alexander Reservoir | 2007000003 | HI00098 | 2000 | HICC | NA | Industrial Non-CHP | Kauai Island Utility Cooperative | NPD | manual_check
hc2175_p01 | Whitman Lake Project | Ketchikan Gateway | AK | 55.333 | -131.532 | Ketchikan Public Utilities | Publicly Owned Utility | Ketchikan Public Utilities | HY | 58977 | P-11841 | 2009-03-17 | 2059-02-28 | Run-of-river | FERC License | 2 | 4.8 | 8801.75 | 20.9326 | 2015 | NA | NA | NA | NA | Whitman Lake | NA | AK00012 | 1900 | ASCC | NA | Electric Utility | Ketchikan Public Utilities | NPD | PipelineIntegrationDB_2022.csv
hc2170_p01 | Chester Diversion Hydroelectric Project | Fremont | ID | 44.0179 | -111.5833 | Fall River Rural Elec Coop Inc | Cooperative | Fall River Rural Elec Coop Inc | HY | 56893 | P-11879 | 2008-07-23 | 2048-06-30 | Run-of-river | FERC License | 3 | 3.6 | 5664.6 | 17.9623 | 2014 | NA | NA | NA | NA | Henry's Fork river | 170000000000 | ID00351 | 16 | WECC | BPAT | Electric Utility | Fall River Rural Elec Coop Inc | NPD | PipelineIntegrationDB_2022.csv
hc2169_p01 | Pacolet | Spartanburg | SC | 34.9203 | -81.7375 | Lockhart Power Company | Investor-Owned Utility | Lockhart Power Company | HY | 58257 | P-2621 | 2011-07-20 | 2052-02-01 | Run-of-river/Peaking | FERC License | 1 | 1.1 | 5256 | 54.5455 | 2013 | NA | NA | NA | NA | Pacolet River | 30501051505 | SC01060 | 95 | SERC | DUK | Electric Utility | Lockhart Power Co | NPD | manual_check
hc2168_p01 | Flint Creek Hydroelectric Project | Granite | MT | 46.2206 | -113.2881 | Granite County, MT | Private Non-utility | Granite County, MT | HY | 58392 | P-12107 | 2010-07-08 | 2050-06-30 | Intermediate Peaking | FERC License | 1 | 2 | 11865.2 | 67.7237 | 2013 | NA | NA | NA | NA | Georgetown Lake | 170000000000 | MT00225 | 17 | WECC | NWMT | IPP Non-CHP | NorthWestern Energy LLC - (MT) | NPD | manual_check
hc7575_p01 | Angelo Dam | Monroe | WI | 43.9684 | -90.7756 | Western Technical College | Private Non-utility | Western Technical College | HY | NA | P-13417 | 2012-12-28 | 2052-11-30 | Run-of-river | FERC License | 1 | 0.95 | 950 | 11.4155 | 2014 | NA | NA | NA | NA | LA CROSSE RIVER | 70400060204 | WI01109 | 77 | MRO | NA | NA | NA | NPD | PipelineIntegrationDB_2022.csv
hc0361_p01 | FLANNAGAN | Dickenson | VA | 37.2333 | -82.345 | JORDAN HYDROELECTRIC L.P. | Private Non-utility | CELRH | HY | NA | P-12740 | 2012-01-27 | 2061-12-31 | Run-of-river | FERC License | 3 | 3 | 9500 | 36.1492 | 2012 | NA | NA | NA | NA | POUND RIVER | 50702020507 | VA051001 | 243 | RFC | NA | NA | NA | NPD | PipelineIntegrationDB_2022.csv
hc0174_p01 | Humboldt River Hydropower Project | Pershing | NV | 40.4697 | -118.3078 | Pershing County Water Conservation Dist | Publicly Owned Utility | U S Bureau of Reclamation | HY | NA | P-14327 | 2014-01-31 | 2064-12-31 | Run-of-river | FERC License | 1 | 0.75 | 2900 | 44.14 | 2014 | NA | NA | NA | NA | HUMBOLDT RIVER | 160000000000 | NV10124 | 12 | WECC | NA | NA | NA | NPD | PipelineIntegrationDB_2022.csv
hc7608_p01 | Brooklyn Dam Hydroelectric Project | Coos | NH | 44.6 | -71.5055 | 5440 Hydro, Inc. | Private Non-utility | 5440 Hydro, Inc. | HY | NA | P-13806 | NA | NA | Run-of-river | FERC Exemption | 2 | 0.6 | 2800 | 53.2725 | 2015 | NA | NA | NA | NA | Upper Ammonoosuc River | 10801010707 | NH00148 | 130 | NPCC | NA | NA | NA | NPD | PipelineIntegrationDB_2022.csv
hc7511_p01 | Cargill Falls | Windham | CT | 41.9233 | -71.9065 | Putnam Green Power, LLC | Private Non-utility | Putnam Green Power, LLC | HY | NA | P-13080 | NA | NA | Run-of-river | FERC Exemption | 1 | 0.875 | 2523 | 32.9159 | 2016 | NA | NA | NA | NA | QUINEBAUG RIVER | 11000010403 | CT01677 | 132 | NPCC | NA | NA | NA | NPD | PipelineIntegrationDB_2022.csv
hc0365_p01 | Townshend Dam Hydroelectric Project | Windham | VT | 43.0522 | -72.7016 | Blue Heron Hydro LLC, Vermont | Private Non-utility | CENAE | HY | 59089 | P-13368 | 2012-03-29 | 2062-02-28 | Run-of-river | FERC License | 12 | 0.924 | 2000 | 24.7089 | 2016 | NA | NA | NA | NA | West River | 10801070402 | VT00004 | 129 | NPCC | ISNE | IPP Non-CHP | Green Mountain Power Corp | NPD | PipelineIntegrationDB_2022.csv
hc7613_p01 | Hanover Pond Dam Hydroelectric Project | New Haven | CT | 41.52 | -72.8267 | New England Hydropower Company, LLC | Private Non-utility | City of Meriden | HY | NA | P-14550 | NA | NA | Run-of-river | FERC Exemption | 1 | 0.22 | 900 | 46.6999 | 2017 | NA | NA | NA | NA | Quinnipiac River | 11000040103 | CT00134 | 132 | NPCC | NA | NA | NA | NPD | PipelineIntegrationDB_2022.csv
hc0372_p01 | Lower St. Anthony Falls Hydroelectric Project | Hennepin | MN | 44.9792 | -93.2478 | SAF Hydroelectric, LLC | Wholesale Power Marketer | CEMVP | HY | 57665 | P-12451 | 2006-02-21 | 2056-01-31 | Run-of-river | FERC License | 16 | 9.6 | 35758.38 | 42.5209 | 2011 | NA | NA | NA | NA | Mississippi River | 70102060703 | MN00591 | 43 | MRO | MISO | IPP Non-CHP | Northern States Power Co - Minnesota | NPD | manual_check
hc0370_p01 | Dorena Lake Dam Project | Lane | OR | 43.7868 | -122.9562 | Dorena Hydro, LLC. | Private Non-utility | CENWP | HY | 59357 | P-11945 | 2008-10-17 | 2058-09-30 | Peaking | FERC License | 2 | 7.5 | 9109.8 | 13.8658 | 2014 | NA | NA | NA | NA | Dorena Lake | 171000000000 | OR00008 | 5 | WECC | PACW | IPP Non-CHP | PacifiCorp | NPD | PipelineIntegrationDB_2022.csv
hc0368_p01 | Jordan | Chatham | NC | 35.6543 | -79.0676 | Jordan Hydroelectric L.P. | Private Non-utility | CESAW | HY | 58390 | P-11437 | 1997-06-26 | 2047-05-31 | Run-of-river | FERC License | 2 | 4.4 | 12906.67 | 33.4855 | 2012 | NA | NA | NA | NA | B.E. Jordan Lake | 30300020704 | NC00173 | 98 | SERC | DUK | IPP Non-CHP | Duke Energy Carolinas, LLC | NPD | manual_check
hc0367_p01 | Cannelton | Hancock | KY | 37.898 | -86.7042 | American Municipal Power, INC | Publicly Owned Utility | CELRL | HY | 57399 | P-10228 | 1991-06-21 | 2041-05-31 | Run-of-river | FERC License | 3 | 87.9 | 405932.67 | 52.7183 | 2016 | NA | NA | NA | NA | Ohio River | 51402010205 | KY03058 | 108 | SERC | MISO | Electric Utility | Southern Indiana Gas & Elec Co | NPD | PipelineIntegrationDB_2022.csv
hc0366_p01 | Smithland | Livingston | KY | 37.1665 | -88.428 | City of Marion, Kentucky | Publicly Owned Utility | CELRL | HY | 57400 | P-6641 | 1988-06-30 | 2038-05-31 | NA | FERC License | 3 | 75.9 | 265458 | 39.9255 | 2017 | NA | NA | NA | NA | Ohio River | 51402030905 | IL50499 | 93 | SERC | MISO | Electric Utility | Big Rivers Electric Corp | NPD | manual_check
hc0363_p01 | Ball Mountain Dam Hydroelectric Project | Windham | VT | 43.1277 | -72.7741 | Blue Heron Hydro LLC, Vermont | Private Non-utility | CENAE | HY | 59040 | P-13226 | 2012-04-12 | 2062-03-31 | Run-of-river | FERC License | 12 | 2.4 | 2667.33 | 12.6871 | 2016 | NA | NA | NA | NA | West River | 10801070305 | VT00001 | 129 | NPCC | ISNE | IPP Non-CHP | Green Mountain Power Corp | NPD | PipelineIntegrationDB_2022.csv
hc0359_p01 | Meldahl Hydroelectric Project | Bracken | KY | 38.7946 | -84.1721 | City of Hamilton, Ohio | Publicly Owned Utility | CELRH | HY | 56872 | P-12667 | 2008-06-25 | 2058-05-21 | Run-of-river | FERC License | 3 | 105 | 451779 | 49.1171 | 2016 | NA | NA | NA | NA | Ohio River | 50902011106 | KY03032 | 109 | SERC | PJM | Electric Utility | Duke Energy Ohio Inc | NPD | PipelineIntegrationDB_2022.csv
hc0356_p01 | Mahoning Creek Hydro Station | Armstrong | PA | 40.9217 | -79.2779 | MAHONING CREEK HYDRO COMPANY, LLC. | Private Non-utility | CELRP | HY | 58685 | P-12555 | 2011-03-04 | 2061-02-28 | Run-of-river | FERC License | 1 | 6 | 12128.83 | 23.0762 | 2013 | NA | NA | NA | NA | Mahoning Creek | 50100060707 | PA00107 | 115 | RFC | PJM | IPP Non-CHP | West Penn Power Company | NPD | manual_check
hc0353_p01 | Willow Island Hydro Station | Pleasants | WV | 39.3582 | -81.318 | AMERICAN MUNICIPAL POWER, INC | Publicly Owned Utility | CELRH | HY | 57401 | P-6902 | 1989-09-27 | 2039-08-31 | NA | FERC License | 2 | 44 | 167448.75 | 43.4435 | 2016 | NA | NA | NA | NA | Ohio River | 50302011009 | WV07301 | 116 | RFC | PJM | Electric Utility | American Transmission Systems Inc | NPD | manual_check
hc0194_p01 | Ridgway | Ouray | CO | 38.2366 | -107.7585 | Tri-County Water Conservancy District | Publicly Owned Utility | U S Bureau of Reclamation | HY | 58901 | NA | NA | NA | NA | Reclamation LOPP | 2 | 8 | 21344.2 | 30.4569 | 2014 | NA | NA | NA | NA | Ridgway Reservoir | 140000000000 | CO02706 | 34 | WECC | WACM | IPP Non-CHP | Tri-State G & T Assn, Inc | NPD | manual_check
hc0181_p01 | Granby Dam | Grand | CO | 40.1487 | -105.8673 | Northern Water Conservancy District | Political subdivision | Bureau of Reclamation | HY | 60119 | NA | NA | NA | NA | Reclamation LOPP | 1 | 1.2 | 4592.33 | 43.6865 | 2016 | NA | NA | NA | NA | Colorado River | 140000000000 | CO01656 | 33 | WECC | PSCO | Commercial Non-CHP | Mountain Parks Electric, Inc | NPD | manual_check
hc0162_p01 | Arrowrock | Elmore | ID | 43.5954 | -115.9225 | Big Bend Irrigation District | Publicly Owned Utility | U S Bureau of Reclamation | HY | 56997 | P-4656 | 1989-03-27 | 2039-02-28 | NA | FERC License | 2 | 15 | 71169.78 | 54.1627 | 2010 | NA | NA | NA | NA | Boise River | 171000000000 | ID00280 | 15 | WECC | IPCO | IPP Non-CHP | Idaho Power Co | NPD | manual_check
hc9156_p01 | Rock Creek | Baker | OR | 44.9093 | -118.0621 | Eastern Oregon Light & Pwr Co. LLC. | Private non-utility | NA | HY | NA | P-12726 | 2021-03-18 | 2061-02-28 | Run-of-river | FERC License | 1 | 0.85 | 3900 | 52.3771 | 2021 | NA | NA | NA | NA | Rock Creek | 1705020304 | NA | 19 | WECC | NA | NA | NA | NSD | manual_check
hc9158_p01 | Kupreanof Microhydro | Petersburg | AK | 56.8023 | -132.996 | Douglas Leen | Private non-utility | NA | HY | NA | P-14862 | NA | NA | Run-of-river | FERC Exemption | 1 | 0.0015 | NA | NA | 2021 | NA | NA | NA | NA | Unnamed Stream | NA | NA | 1900 | ASCC | NA | NA | NA | NSD | PipelineIntegrationDB_2022.csv
hc9148_p01 | Reynolds Creek | Hydaburg | AK | 55.2156 | -132.5979 | Haida Energy, Inc | Private non-utility | NA | HY | NA | P-11480 | 2000-10-24 | 2050-09-30 | Peaking | FERC License | 2 | 5 | 6100 | 13.9269 | 2021 | NA | NA | NA | NA | Lake Mellen | NA | NA | 1900 | ASCC | NA | NA | NA | NSD | PipelineIntegrationDB_2022.csv
hc7600_p01 | Hancock Creek | Kings | WA | 47.5711 | -121.7144 | PUD No. 1 of Snohomish County WA | Publicly Owned Utility | PUD No. 1 of Snohomish County WA | HY | 60517 | P-13994 | 2015-06-19 | 2065-05-31 | Run-of-river | FERC License | 1 | 6 | 10810 | 20.567 | 2018 | NA | NA | NA | NA | Calligan Creek | 171000000000 | NA | 1 | WECC | PSEI | Electric Utility | Puget Sound Energy Inc | NSD | PipelineIntegrationDB_2022.csv
hc7599_p01 | Calligan Creek | Kings | WA | 47.6061 | -121.7104 | PUD No. 1 of Snohomish County WA | Publicly Owned Utility | PUD No. 1 of Snohomish County WA | HY | 60418 | P-13948 | 2015-06-23 | 2065-05-31 | Run-of-river | FERC License | 1 | 6 | 9632 | 18.3257 | 2018 | NA | NA | NA | NA | Calligan Creek | 171000000000 | NA | 1 | WECC | PSEI | Electric Utility | Puget Sound Energy Inc | NSD | PipelineIntegrationDB_2022.csv
hc2174_p01 | Allison Lake | Valdez Cordova | AK | 61.0804 | -146.3539 | Copper Valley Electric Association, Inc. | Cooperative | Copper Valley Electric Association, Inc. | HY | 58982 | P-13124 | 2013-08-01 | 2063-07-31 | Run-of-river | FERC License | 1 | 6.5 | 13799.67 | 24.2355 | 2016 | NA | NA | NA | NA | Allison Creek | NA | NA | 1900 | ASCC | NA | Electric Utility | Copper Valley Elec Assn, Inc | NSD | PipelineIntegrationDB_2022.csv
hc2171_p01 | Baker Creek Diversion | Humboldt | CA | 40.5264 | -123.7256 | Baker Station Associates, LP | Private Non-utility | Baker Station Associates, LP | HY | 59428 | P-4627 | 1986-05-08 | 2036-04-30 | NA | FERC License | 2 | 1.5 | 2755.8 | 20.9726 | 2014 | NA | NA | NA | NA | Bailey Creek | 180000000000 | NA | 9 | WECC | CISO | IPP Non-CHP | Pacific Gas & Electric Co | NSD | manual_check
hc2164_p01 | Youngs Creek | Snohomish | WA | 47.7989 | -121.8236 | Snohomish PUD | Publicly Owned Utility | Snohomish PUD | HY | 57763 | P-10359 | 1992-05-05 | 2042-04-30 | Run-of-river | FERC License | 1 | 7.5 | 16615.88 | 25.2905 | 2011 | NA | NA | NA | NA | Youngs Creek | 171000000000 | NA | 1 | WECC | BPAT | Electric Utility | PUD 1 of Snohomish County | NSD | manual_check
hc7576_p01 | Gartina Falls | NA | AK | 58.0699 | -135.3829 | Inside Passage Electric Cooperative | Cooperative | Inside Passage Electric Cooperative | HY | NA | P-14066 | 2013-01-29 | 2062-12-31 | Run-of-river | FERC License | 1 | 0.45 | 1810 | 45.9158 | 2015 | NA | NA | NA | NA | GARTINA CREEK | NA | NA | 1900 | ASCC | NA | NA | NA | NSD | PipelineIntegrationDB_2022.csv
hc7271_p02 | Little Wood River Ranch 2 | Lincoln | ID | 42.9634 | -114.5663 | William Arkoosh | Private Non-utility | William Arkoosh | HY | NA | P-14154 | 2013-04-16 | 2063-03-31 | Run-of-river | FERC License | 2 | 1.23 | 5323 | 49.4023 | 2016 | NA | NA | NA | NA | LITTLE WOOD RIVER | 170000000000 | NA | 15 | WECC | NA | NA | NA | NSD | PipelineIntegrationDB_2022.csv
hc7493_p01 | Lake Hodges Hydroelectric Facility | San Diego | CA | 33.058 | -117.1188 | San Diego County Water Authority | State | San Diego County Water Authority | PS | 57729 | P-12473 | NA | NA | Canal/Conduit | FERC Exemption | 2 | NA | NA | NA | NA | 42 | 33871.43 | 9.2062 | 2012 | OLIVENHAIN RESERVOIR | 181000000000 | CA01454 | 11 | WECC | CISO | Electric Utility | San Diego Gas & Electric Co | PSH | manual_check
hc1658_p01 | Stuyvesant Falls | Columbia | NY | 42.3591 | -73.7315 | Niagara Mohawk Power Corp | Investor-Owned Utility | Niagara Mohawk Power Corp | HY | 58873 | P-2696 | 2013-04-05 | 2043-03-31 | Run-of-river | FERC License | 2 | 6 | 11357.17 | 21.608 | 2012 | NA | NA | NA | NA | Kinderhook Creek | 20200060609 | NY00284 | 127 | NPCC | NYIS | IPP Non-CHP | Niagara Mohawk Power Corp. | Repower | manual_check

## meta
PrjType (Project Type) Codes
C | hydropower added to existing canals/conduits
NPD | hydropower added to existing non-powered dams
NSD | new stream-reach development
PSH | pumped storage hydropower
CU | capacity upgrades such as adding a second powerhouse to an existing plant
Repower | repowers of old surrendered plants
There is one facility (EIA Plant ID 62322) for which we (ORNL) could not find information on project type and another (FERC docket P-14447) that was already previously operating but does not show up in EIA because it is too small and only applied for FERC permitting in the 2010s